## Slide 1: Structural Building Design Team (SEI Design Competition Team)
By: Jacob Hood
Jonathan Gober
Samuel Taylor

## Slide 2: Introduction
We were tasked with designing a new engineering building here at NAU
  The current building is at its maximum student capacity
  The building must be at least 1.2 times the size of the existing building = 112,000 sq.ft.
Our design mainly focuses on the structural components of the building
Requirements based on the previous SEI student design competition parameters
  Technical correctness
  Depth of knowledge
  Innovation in design
Source: www.panoramio.com
Notes: Which will include things like selecting the appropriate beam and column sizes based load combinations. We will also be designing the roof, shear walls, floor slabs, foundation, and provide connection details for each.

## Slide 3: Site Location
Figure 1: Site Location

## Slide 4: SketchUp Rendering

## Slide 5: Standard Floor Plan for Proposed Design
Figure 2: Foundation Plan
Figure 3: Second Floor Plan
Notes: 112,308 sq. ft. (requirement)
- Start off with basic column location to determine weight from floor system span

## Slide 6: Standard Floor Plan for Proposed Design
Figure 4: South Elevation View
Notes: 112,308 sq. ft. (requirement)
- Start off with basic column location to determine weight from floor system span

## Slide 7: Loading Plan
Gravity Loads that were considered:
  Dead loads:
    Self weight of structural Members
    Superimposed dead load
  Live Loads:
    80 psf – For hallways per ASCE 7-10
    Roof Snow Load of 40 psf
      Per Flagstaff city code
Lateral Loads that were considered:
  Wind:
    ASCE 7-10 Simplified Directional Procedure
  Seismic:
    ASCE 7-10 Seismic Procedure
Notes: 112,308 sq. ft. (requirement)
Start off with basic column location to determine weight from floor system span
Discuss ASCE code and what it means

## Slide 8: Loading Summary
Total Lateral Load at the base of the building (due to wind) = 367.3 kips
Total Lateral Load at the base of the building (due to seismic) = 773.5 kips
  Seismic governs for lateral loading in design
Total Vertical Load at the base of the building = 15,305 kips
Notes: Loads will be refined during framing process

## Slide 9: Structural Members
Source: www.globalwoodtrade.com
Source: www.naturallywood.com
Figure 5: Glue Laminated Timber Beam and Girder Cross Sections
Figure 6: Composite Floor Slab Cross Section
Notes: Hand calculations to find dimenions
Floor based on deflection
Beams on asd

## Slide 10: Structural Members
Source: http://www.anthonyforest.com/ewp/power-column.shtml
Figure 7: Glue Laminated Timber Column Cross Sections
Notes: Hand calculations to find dimenions
Floor based on deflection
Beams on asd

## Slide 11: Lateral Force Resisting System
Step One:
  Identify the type of diaphragm the building is going to utilize
Step Two:
  Determine type/material, as well as the location within the building, of the vertical resisting elements
Step Three:
  Locate the Center of Rigidity and the Center of Mass for the building
Step Four:
  Use the forces found in the previous design steps to find the total shear that will need to be resisted
Step Five:
  Verify that the system in place will have the strength to counteract the shear found
Notes: 112,308 sq. ft. (requirement)
- Start off with basic column location to determine weight from floor system span

## Slide 12: RISA Gravity Model
Model Key | 
Green | E-W Spandrels
Red | N-S Spandrels
Blue | Main Girders
Purple | 1st/2nd Floor Columns
Grey | 3rd/4th Floor Columns
 | Pinned Support
 | Moment Release
Figure 8: RISA Model (ISO View)
Notes: Loads will be refined during framing process

## Slide 13: RISA LFRS Model
Model Key | 
Green | Girders
Red | 3rd/4th Floor Columns
Grey | 1st/2nd Floor Columns
Blue | Tube Cross Bracing
 | Pinned Support
 | Moment Releases
Figure 9: Lateral Force Resisting System Detail
Figure 10: RISA Model - Lateral Force Resisting System
Notes: Loads will be refined during framing process

## Slide 14: RISA 3D Solutions
Gravity System
  Moments and axial forces were under the design limits
  Initial deflections were high and exceeded maximum deflections
    Max = 1.46 in
    Allowable = 1.15 in
    Solution: Increase depth of beams
Lateral System
  Allowable forces and deflections were greater than RISA calculated
  The LFRS was designed appropriately
Notes: 112,308 sq. ft. (requirement)
- Start off with basic column location to determine weight from floor system span

## Slide 15: RISA 3D Solutions
Notes: 112,308 sq. ft. (requirement)
- Start off with basic column location to determine weight from floor system span

## Slide 16: RISA 3D Solutions
Notes: 112,308 sq. ft. (requirement)
- Start off with basic column location to determine weight from floor system span

## Slide 17: Basic Connections
Figure 11: Composite Floor Slab Girder Connection
Figure 13: Girder Column Connection
Figure 12: Column Splice Connection
Figure 14: Side Profile of Girder Column Connection
Notes: Loads will be refined during framing process

## Slide 18: Basic Connections
Figure 15: Girder, Column, and Cross-Bracing Connection
Figure 16: Cross-Bracing Intersection Connection
Notes: Loads will be refined during framing process

## Slide 19: Staffing: Actual Vs Estimated
Figure 17: Actual vs Estimated Hour Allotments
Figure 18: Employee Codes
Notes: 112,308 sq. ft. (requirement)
- Start off with basic column location to determine weight from floor system span

## Slide 20: Cost: Actual Vs Estimated
Code | Billing Rate $/hr | Hours Per Position | Actual Total Pay Per Position $ | Estimated Total Pay Per Position $
SE | 117.94 | 69 | $8,137.69 | $9,552.94
EG | 58.61 | 77 | $4,512.82 | $5,098.90
EIT | 46.45 | 136 | $6,317.68 | $7,200.29
AA | 37.96 | 45 | $1,708.29 | $1,328.67
IT | 21.31 | 129 | $2,749.25 | $3,260.74
Total |  | 456 | $23,425.72 | $26,441.53
Figure 19: Actual vs Estimated Cost of Designing
Notes: 112,308 sq. ft. (requirement)
- Start off with basic column location to determine weight from floor system span

## Slide 21: Questions?