## Start Here
General Guidelines:
1. Be slow, systematic, and precise in testing. If there is not a clear understanding of the system to be tested and expected results, then clarify before testing to avoid damage!
2. Never erase old data, it can be useful for troubleshooting. If you failed a set of tests, put a copy of the test procedure below that one, and repeat the tests!
3. There is example data in these forms. Once you understand what you want to do, replace the example data with your project data.
4. Save your workbook with the Team number and short name (e.g. "15 robot arm")
Instructions:
1 | Complete the glossary below
2 | Insert your system requirements on the "Requirements" tab.
3 | Consider what testing you need to do, and complete the "Type of Test" column for all requirements.
4 | Complete documentation of at least 4 tests: 3 from (UTS, UTM) and one integration test. Copy and modify sheets as necessary
5 | Present an overview of your 4 tests as a PowerPoint presentation on the assigned date. Submit this Excel Workbook for grading.
6 | Complete the actual tests! Record your results and comments. You will pull some of this data to your reports.
7 | Prepare your Testing Report and submit
Glossary
term | definition:
White Box | Testing performed with knowledge of internal working system.
Black Box | Testing perform without knowledge of internal working of system.
Unit Test | Matrix test or step-by-step test.
Matrix Test | Structured inputs that directly affect output values.
Step-by-Step Test | Multiple selection test for generating mutiple results, commonly used from flow charts.
Test Coverage | How much of the system the following tests cover.
Integration Test | A full system test aimed to mimic the final product.
Acceptance test | Testing the must pass under the clients requirements.
UUT | Unit Under Test.
Runaway Condition | Condition that raises temperature and rpms that hinder output power and safety.
PCC | Point of common coupling.
Boost Converter | An RLC system with a MOSFET used to step up low voltage.
UTM | Universal testing machine.

## Requirements
Instructions: List all of your requirements, and use a numbering system.
Type of Test | Status | Req # | Requirement
|  | 1 | General Rules:The turbine must be designed, and loads analyzed to withstand continuous winds of up to 22 meters per second (m/s) but no testing will be done beyond 13 m/s.
|  | 1.1 | Size Requirements: Within practical limits, there is no size restriction for components located outside the tunnel.
|  | 1.2 | Rule Changes: An important change in the rules for the 2020-2021 collegiate wind competition (CWC) is that teams are required to clearly describe what materials and designs they have referenced and used for this year’s design
|  | 2 | Project Breakdown
|  | 2.1 | Auxillary connections
|  | 2.2 | Purchasing
|  | 2.3 | PCB Design
|  | 2.4 | Arduino Code
|  | 2.5 | DC/DC Converter |  | Passed
|  | 3 | Auxillary Connections |  | test partially passed
|  | 3.1 | I/O |  | Failed
Inspect |  | 3.1.1 | All I/O must use anderson power pole connectors |  | not testable
|  | 3.1.2 | Output voltage must be <=48V at any given time | * | vital to system
|  | 3.1.3 | Output current must be between 15-45 amps
Inspect |  | 3.1.4 | All I/O wires should be 10-20 AWG
Matrix | * | 3.1.5 | Rectifier must output DC with as little drop as possible
Inspect | * | 3.1.6 | Load with emergency stop button
|  | 3.1.6.1 | Verify current cuts to diversion load
|  | 3.1.6.2 | Verify brakes get power
Inspect |  | 3.2 | Turbine Connection
|  | 3.2.1 | All the wires that connect to the turbine should exit at the turbine base.
|  | 3.2.2 | All cable pass throughs in enclosures must use cable glands or other similar devices that provide both strain and chafe protection.
|  | 3.2.3 | Each cable connection from the turbine to the enclosure should employ a quick-attach connector
|  | 3.2.4 | The turbine base plate shall be tied to earth ground. The turbine electrical system ground(s) must be electrically tied to this base plate with a 100 kΩ or lower resistance connection.
|  | 3.2.5 | All electrical cables leading from the turbine to the electronic components located outside the tunnel must be in cable form (no individual strands) and have connectors
Inspect |  | 3.3 | Point of common coupling(PCC)
|  | 3.3.1 | Wires exiting the base of the turbine must be at least 1.5 meters in order to reach the competition testing point of common coupling (PCC).
|  | 3.3.2 | The turbine electronics must be in a separate enclosure from the load in order to clearly differentiate load and the control during inspection by judges
|  | 3.3.3 | Teams can use the load to power the turbine but the load (a capacitor bank) must not be charged at the beginning of the competition.
|  | 3.3.4 | The enclosure should be outside the turbine and the wires should be long enough to reach the electrical enclosure and terminated with a single red and single black anderson power pole connector
Inspect |  | 3.4 | Electrical enclosure
|  | 3.4.1 | Enclosures are constructed for indoor use to provide a degree of protection for personnel against access to hazardous parts and to provide a degree of protection for the equipment inside the enclosure against ingress of solid foreign objects
|  | 3.4.2 | All electrical components must be incorporated into closed enclosures that are fire safe and meet or exceed a National Electrical Manufacturers Association (NEMA) Type 1 rating
|  | 3.4.3 | All components must be electrically insulated from the enclosures.
|  | 3.4.4 | All electrical components shall be mechanically secured to the enclosure.
Inspect |  | 4 | Safety Requirements
|  | 4.1 | Teams must follow Occupational Safety and Health Administration rules for safety equipment based on expected activities (see NREL/university subcontract, Appendix B Clause 8: Worker Safety and Health Requirements, for more information).
Inspect |  | 5 | PCB Design
|  | 5.1.1 | The PCB integration will be designed through the software, Altium
|  | 5.1.2 | All components and connections on the PCB layout will be labeled
|  | 5.1.3 | In order to define widths of power lines and communication lines, net classes will be made to avoid error within the PCB board
Inspect |  | 6 | Arduino Coding
|  | 6.1 | Client Constraints
Step by Step | * | 6.1.1 | Arduino Mega must be used to automatically adjust DC/DC converter
|  | 6.1.2 | MATLAB Simulink should be used
|  | 6.1.3 | A smaller DC/DC Converter should be used to power MCU
Inspect |  | 7 | DC/DC Converter
|  | 7.1 | Client requirements
|  | 7.1.1 | Team must use previous team's layout
Inspect |  | 7.2 | Competition requirements
|  | 7.2.1 | Capacitor cannot store >10J
Matrix | * | 7.2.2 | Max power variance must only vary +/-10% of total power at PCC
|  | 7.2.3 | Submit a one page write up of detailed testing with instrumentation used
Integration | * | 7.2.4 | Whole system test
|  | 7.2.4.1 | Perform a time series of power measured at a frequency of at least 200Hz, then compare to section 3.5.2 of competition guidelines

## UTM Rectifier Output
1
Requirement Tested: | 3.1.5 | Rectifier must output DC with as little drop as possible
Test Case name: | Rectifier Output
Type | white box | The rectifer consists of a 6 diode full bridge recitifier
Hardware version: | 2 | Tester: Noah Bell | [5 empty] | Date: | 2021-03-05
Setup instructions: | Requires a 3 phase turbine to provide power input to system. Also uses a capacitor in parallel with the system and an inductor in series with the DC output of the rectifier. For open circuit tests, no load is required, otherwise a programmable DC load is required for monitoring and correcting the situation. Gradually alter the rpm using the wind speed (or dynamometer in the lab) and the the current and volage values of the load. Based on requirement 3.1.2 and 3.1.3, the voltage output of the rectifer must be less than 48V and the current should be betweem 15 and 45 Amps.
Updated Instructions: | We were originally expecting 10-15 A from the load. However, this changed to an expected value of ~1 A, which decreased our expected power by a factor of 10. | [5 empty] | Results
Test | Input (rpm) | Expected Result (Power in W) | Modified Expected Results | Results (Volts) | Results (A) | Results (Power) | Pass | Fail | N/A | Comments
1 | 300 | 10 | 1 | 1.85 | 0.3 | 0.555 |  |  |  | Lowest rpm for startup (~360 rpm)
2 | 780 | 25 | 2.5 | 6.4 | 1 | 6.4
3 | 1020 | 50 | 5 | 8.3 | 1 | 8.3
4 | 1600 | 75 | 7.5 | 9.9 | 0.97 | 9.603
5 | 2040 | 100 | 10 | 12.4 | 0.97 | 12.028
6 | 2500 | 125 | 12.5 | 15.07 | 0.97 | 14.6179
7 | 3000 | 150 | 15 | 18.7 | 0.97 | 18.139
8 | 3700 | 175 | 17.5 | 22.7 | 0.97 | 22.019
9 | 4200 | 200 | 20 | 26.7 | 0.97 | 25.899
10 | 5000 | 225 | 22.5 | 31.2 | 0.97 | 30.264 |  |  |  | Max wind speed in tunnel (13 m/s)
11 | 5500 | 250 | 25 | 34.8 | 0.97 | 33.756 |  |  |  | Runaway Condition

## UTM Boost IO
Test number | 2
Requirement Tested: | 7.2.2
Test Case name: | Boost I/O
Type | White Box
Hardware version: | 0.1 |  | Tester: Aidan Nash |  | Date:
Setup instructions: | The setup for the test can run either using the dynamometer, or a DC power supply
Dynamometer:
Attach the two wires from the rectifer directly to the positive inductor of the boost, and the ground connection. Use dynamometer to ramp voltage according to provided spreadsheet at designated levels. Verify that voltage boosts to 40V with only 10% variance of power.
DC Supply
Solder wires onto the perf board/PCB at the positive side of inductor, and ground of circuit. Use supply to ramp voltage according to provided spreadsheet at designated levels. Verify that voltage boosts to 40V with only 10% variance of power.
Results
Test | Input Voltage(V) | Expected Duty Cycle(%) | Expected Result | Pass | Fail | N/A | Comments
1 | 1 | 0.92857 | Boost likely inactive
2 | 2 | 0.86364 | Boost likely inactive
3 | 3 | 0.80435 | Boost likely inactive
4 | 4 | 0.75 | Boost to 40V
5 | 5 | 0.7 | Boost to 40V
6 | 6 | 0.65385 | Boost to 40V
7 | 7 | 0.61111 | Boost to 40V
8 | 8 | 0.57143 | Boost to 40V
9 | 9 | 0.53448 | Boost to 40V
10 | 10 | 0.5 | Boost to 40V
11 | 11 | 0.46774 | Boost to 40V
12 | 12 | 0.4375 | Boost to 40V
13 | 13 | 0.40909 | Boost to 40V
14 | 14 | 0.38235 | Boost to 40V
15 | 15 | 0.35714 | Boost to 40V
16 | 16 | 0.33333 | Boost to 40V
17 | 17 | 0.31081 | Boost to 40V
18 | 18 | 0.28947 | Boost to 40V
19 | 19 | 0.26923 | Boost to 40V
20 | 20 | 0.25 | Boost to 40V
21 | 21 | 0.23171 | Boost to 40V
22 | 22 | 0.21429 | Boost to 40V
23 | 23 | 0.19767 | Boost to 40V
24 | 24 | 0.18182 | Boost to 40V
25 | 25 | 0.16667 | Boost to 40V
26 | 26 | 0.15217 | Boost to 40V
27 | 27 | 0.1383 | Boost to 40V
28 | 28 | 0.125 | Boost to 40V
29 | 29 | 0.11224 | Boost to 40V
30 | 30 | 0.1 | Boost to 40V
31 | 31 | 0.088235 | Boost to 40V
32 | 32 | 0.076923 | Boost to 40V
33 | 33 | 0.066038 | Boost to 40V
34 | 34 | 0.055556 | Boost to 40V
35 | 35 | 0.045455 | Boost to 40V
36 | 36 | 0.035714 | Boost to 40V
Input Voltage(V) | Expected Duty Cycle(%) | Output Voltage(V), f = 10kHz, I = .03A
1 | 0.92857
2 | 0.86364
3 | 0.80435 | 3.8
4 | 0.75 | 5.45
5 | 0.7 | 7.3
6 | 0.65385 | 9.4
7 | 0.61111 | 11.3
8 | 0.57143 | 14.8
9 | 0.53448 | 20.1
10 | 0.5 | 24.75
11 | 0.46774 | 34.8
12 | 0.4375 | 41.98
13 | 0.40909
14 | 0.38235
15 | 0.35714
16 | 0.33333
17 | 0.31081
18 | 0.28947
19 | 0.26923
20 | 0.25
21 | 0.23171
22 | 0.21429
23 | 0.19767
24 | 0.18182
25 | 0.16667
26 | 0.15217
27 | 0.1383
28 | 0.125
29 | 0.11224
30 | 0.1
31 | 0.088235
32 | 0.076923
33 | 0.066038
34 | 0.055556
35 | 0.045455
36 | 0.035714
Input Voltage(V) | Expected Duty Cycle(%) | Output Voltage(V), f = 6.4kHz, I = | 1599
1 | 0.92857
2 | 0.86364
3 | 0.80435
4 | 0.75
5 | 0.7
6 | 0.65385
7 | 0.61111
8 | 0.57143
9 | 0.53448
10 | 0.5
11 | 0.46774
12 | 0.4375
13 | 0.40909
14 | 0.38235
15 | 0.35714
16 | 0.33333
17 | 0.31081
18 | 0.28947
19 | 0.26923
20 | 0.25
21 | 0.23171
22 | 0.21429
23 | 0.19767
24 | 0.18182
25 | 0.16667
26 | 0.15217
27 | 0.1383
28 | 0.125
29 | 0.11224
30 | 0.1
31 | 0.088235
32 | 0.076923
33 | 0.066038
34 | 0.055556
35 | 0.045455
36 | 0.035714

## UTS Arduino
Test number | 3
Requirement Tested: | 6.1.1 | Arduino Mega must be used to automatically adjust DC/DC converter
Test Case name: | Arduino Test
Type | White Box
Hardware version: |  | Tester: Ben Allen |  | Date:
Setup instructions: | Connect the Power supply to the Arduino/PCB system and the load to the output of the PCB board. Connect a scope to PWM signal and set up scope to measure the duty cycle. Start with zero volts and increase voltage to each step. At each stage we will read the PWM from the scope and check which relay is on based on LED lights next to relays. After we have checked the various voltages. Push the pushbutton. Check to see that the relay is in diversion mode.
Results
Step | Action | Expected Result | Pass | Fail | N/A | Comments
1 | Apply 4 volts | Arduino turns on
2 | Apply 6 volts | Relay set to boost circuit
3 |  | Compare PWM signal to table + or - 5%
4 | Apply 10 volts | Relay set to boost circuit
5 |  | Compare PWM signal to table + or - 5%
6 | Apply 15 volts | Relay set to boost circuit
7 |  | Compare PWM signal to table + or - 5%
8 | Apply 21 volts | Relay set to bypass circuit
9 |  | Compare PWM signal to table + or - 5%
10 | Apply 25 volts | Relay set to bypass circuit
11 |  | Compare PWM signal to table + or - 5%
12 | Apply 30 volts | Relay set to bypass circuit
13 |  | Compare PWM signal to table + or - 5%
14 | Apply 36 volts | Relay set to bypass circuit
15 |  | Compare PWM signal to table + or - 5%
16 | Apply 40 volts | Relay set to diversion load
17 |  | Compare PWM signal to table + or - 5%
18 | Push pushbutton | Relay set to diversion load
19 |  | Compare PWM signal to table + or - 5%

## Arduino Testing
Vin | V out goal | Duty Cycle | Actual duty cycle | VDC | Duty Cycle |  | Vout
4 | 32 | 0.875 | 0.833 | 5 | 0.1 | 0.18 | 5.5556 | 5.5556
5 | 32 | 0.84375 | 0.833 | 5 | 0.15 | 0.17 | 5.8824 | 5.8824
6 | 32 | 0.8125 | 0.833 | 5 | 0.2 | 0.16 | 6.25 | 6.25
7 | 32 | 0.78125 | 0.792 | 5 | 0.25 | 0.15 | 6.6667 | 6.6667
8 | 32 | 0.75 | 0.75 | 5 | 0.3 | 0.14 | 7.1429 | 7.1429
9 | 32 | 0.71875 | 0.708 | 5 | 0.35 | 0.13 | 7.6923 | 7.6923
10 | 32 | 0.6875 | 0.667 | 5 | 0.4 | 0.12 | 8.3333 | 8.3333
11 | 32 | 0.65625 | 0.667 | 5 | 0.45 | 0.11 | 9.0909 | 9.0909
12 | 32 | 0.625 | 0.625 | 5 | 0.5 | 0.1 | 10 | 10
13 | 32 | 0.59375 | 0.583 | 5 | 0.55 | 0.09 | 11.1111 | 11.1111
14 | 32 | 0.5625 | 0.583 | 5 | 0.6 | 0.08 | 12.5 | 12.5
15 | 32 | 0.53125 | 0.5 | 5 | 0.65 | 0.07 | 14.2857 | 14.2857
16 | 32 | 0.5 | 0.5 | 5 | 0.7 | 0.06 | 16.6667 | 16.6667
17 | 32 | 0.46875 | 0.458 | 5 | 0.75 | 0.05 | 20 | 20
18 | 32 | 0.4375 | 0.417 | 5 | 0.8 | 0.04 | 25 | 25
19 | 32 | 0.40625 | 0.417 | 5 | 0.85 | 0.03 | 33.3333 | 33.3333
20 | 32 | 0.375 | 0.333 | 5 | 0.9 | 0.02 | 50 | 50
21 | 32 | 0.34375 | 0.333 | 5 | 0.95 | 0.01 | 100 | 100
22 | 32 | 0.3125 | 0.292
23 | 32 | 0.28125 | 0.25
24 | 32 | 0.25 | 0.25
25 | 32 | 0.21875 | 0.167
26 | 32 | 0.1875 | 0.167
27 | 32 | 0.15625 | 0.167
28 | 32 | 0.125 | 0.083
29 | 32 | 0.09375 | 0.083
30 | 32 | 0.0625
31 | 32 | 0.03125
32 | 32 | 0

## Integration Test
Test number | 4
Requirements Tested: | 7.2.4 | Whole system test
7.2.4.1
Perform a time series of power measured at a frequency of at least 200Hz, then compare to section 3.5.2 of competition guidelines
Test Case name: | User integration testing
Type | White box
Hardware version: |  | Tester: Nolan Mcneil | Date:
Setup instructions: | Tests setup requires: 3 subysytems including Bridge Rectifier Circuit, Boost Converter Circuit and a Dynanometer circuit. The Dynamomoter will be used to mimic any RPM level up to 4000 RPMS. This will be connected to the boost converter circuit that will then be connected to a the three phase bridge rectifier circuit. A DC programmable load will be connected to the 3 phase bridge recrifier circuit to read output values such as Current, Voltage and Power.
Results
Step | Action | Expected Result | Pass | Fail | N/A | Comments
1 | Dynanometer powers on to the lowest allowed RPM level required to power the boost converter at 400 RPM's | At 400 RPM the boost converter will begin charging up to 40 volts.
2 | Dynanometer pushes RPM's up to nominal RPM value of 2700 RPM's | Boost converter will approach maximum volatge of 40 volts
3 | Dynanometer switches to maximum allowable level of RPM's at a value of 4000 | Power will be cut through the entire system. Boost converter will stop and power should be diverted through the emergency stop button.
4 | Push button stop insance | Power will cut to the diversion load through a chopper circuit to allow for braking.
5 | Power Curve generation required for competition. | More power will be produced as RPM's continue to rise up until 4000 RPM when the system will then be cutoff. Minimum power produced being 120 mW and maximum power output being 17.2 W