Photovoltaic (Solar Electric)

- Need hourly electric usage for the whole year. (Hourly Data)

- Racking. Maybe use existing racking, but will check.

- Solar Thermal panels are extremely light. PV may not hold up to the wind loads.

- SES Meters Check, Service Entrance.

- Angle of Current Racking.

- Array Spacing.

- Need a new roof.

- Check other rooftop.

  - PV research could potentially be a Individual Analysis, could be 2 people.

PV and Solar Thermal

- Is this even an option?

- That one section is not cost-efficient.

- Current system is 8% efficient, new state-of-the-art solar thermal system could be constructed in 500 ft^2 could supply demand of 5000 gal/day.

- Current system is 5040 ft^2, size is 10% of current system size, leave room for PV and solar thermal.

- Take away 500 ft^2, how many panels.

- No pure hybrid single system, has to be a bit of both.

  - Could research for an Individual Analysis.

Solar Thermal

- Can we still hookup our single panel? And three other panels for proof of concept, so we can demonstrate or run analysis on single panel to disprove the system efficiency.

- Scrapping, it is a lot of copper and aluminum, recycle?

  - Could be an Individual Analysis.

- Joel will analyze the current panel provided to the team. (Individual Analysis)

Wind (Alternate)

Could be Individual Analysis.

Individual Analysis

- Truss Analysis (FEA)

  - Uni-rack

- Scrapping

- Wind Turbine

- PV

- Joel’s Panel