Staff Meeting Minutes

Dr. Trevas, Brandon Begay, Joel, Chris, Dreighton, Jawaher, and Daniel

- Discuss site visit

  - Talked about state of solar thermal system

    - Leaks throughout the system

    - Not able to hold pressure

    - Currently stagnant, no flow through the system

    - Expected capacity of current system if working properly

  - Solar thermal may not meet demands of hotel

    - The solar thermal system heats water when hot water demand is lowest

  - Next Step forward

    - Schedule time to analyze quantity and severity of leaks in system

    - Estimate cost to repair system

- Possible solutions

  - Repair current system

  - Install new solar thermal panels on present racking and plumbing

  - Propose mixed photovoltaic and solar thermal system

  - Propose installation of photovoltaic system

- In-class presentation

  - 8-12 minutes

  - Background, Customer Needs, Engineering Requirements