Gore Bio-Electric Team Meeting – October 9, 2017

Meeting started at 12:15 pm

Members Present

Tim O’Rourke

Bray Moll

Justin Havely

Zaoyi Chi

Ariel Autrand

Diego Garcia

Qingkun Liu

Members Not Present

Andrew Mullen

Discussion of Previous Research

- Consider the market share that can be reached by each design.

  - Every medical device has a breakeven point that it must reach for the decision to make economic sense to a company.

  - Carefully consider decisions that would limit the percentage of the population that a device would work for. For example a charging device that is built into a stent would limit the number of patients that would benefit from that device, reducing the number of units that could be sold

  - It is recommended to create a standalone device to reach the highest population percentage.

- Change how we address and think about “Engineering Requirements” to “Target Specification”

  - Reliability

    - It was recommended to not focus on the reliability target that was previously developed during the prototype and development phase.

    - The manufacturing yield may be characterized, but should not be a significant target specification during the prototyping phase. For example we might note that we had a failure of 50% in manufacturing, but here is why and here is how things will be addressed if we moved out of prototyping and into manufacturing.

  - Durability

    - The previous target specification of a 2 hour run with no more than a 30% drop in power output would not adequately replace the current method of using a battery.

    - It was requested that we provide evidence that the device would have a life cycle of at least 10 years.

  - Location

    - The target specification of 1.5m may still be limiting. It was recommended to adjust this target to 2 m until more details are known.

Future Business

Schedule Next Gore Meeting

- The next meeting with Gore will be Monday October 23, 2017 at 12:00 pm in the Oak Creek Conference room in Echo Ridge.

Meeting Adjourned at 1:00 pm.

Meeting minutes Prepared by Bray Moll