## Slide 1: Equinus Exoskeleton
Brandon Begay, Azalea Grant, Robert Libby, Ethan Michel, Hannah Rentschler

## Slide 2: Project Description: Objective
Objective: Design exoskeleton to assist individuals with equinus deformity
Equinus is a condition in which the patient’s ankle lacks the ability to dorsiflex
Our device should:
  Provide propulsive force to bottom of foot
  Provide heel support
Client:
  Dr. Zachary Lerner (NAU Biomechatronics Lab)
Faculty Advisor:
  Dr. David Trevas
April 27th, 2018
Ethan
April 27th, 2018
Ethan Michel

## Slide 3: Project Description: Requirements
April 27th, 2018
Ethan
Customer Requirements | Engineering Requirements
Must use Bowden Cable system Must interface with footwear Measure applied torque Easy on/off Compliant with heel-strike | Lightweight (.25 kg per limb) - not met Scalable for different severity levels (5-30 degrees) - met Provide 10-15Nm of propulsion - met Provide 5 degrees of rotation - met
April 27th, 2018
Ethan Michel
Notes: ‘In future work the device would be lighter for a child’s size’
Anticipate that the weight would be less

## Slide 4: Final Product
April 27th, 2018
Azalea
April 27th, 2018
Ethan Michel
Motor assembly
Bowden Cables and Sensor Wires
Foot assembly

## Slide 5
April 27th, 2018
Ethan Michel
Final Product
Foot assembly
Motor assembly

## Slide 6: Design Solution
Motors
  Supported by motor mounts
Shaft supports
  To prevent motor shaft bending
Motor pulley
  Couples bowden cables to the motor
  Secured to motor by a set screw
  Connects cables to pulley by a set screw
Battery
3D printed board
  For mounting circuit board
April 27th, 2018
Brandon
Motors
Motor pulleys
Battery
3D printed board
Shaft support
April 27th, 2018
Brandon Begay
Notes: Radial force

## Slide 7: Design Solution
3D printed heel and toe-support
  Adjustable from 0 to >30 degrees
Hinge
  Transmits force to lift the heel
April 27th, 2018
Hannah Rentschler
Heel and toe support
April 27th, 2018
Foot plate
  Provides support
L-Bracket
  Mounts the drive system
Hinge
Foot plate
L-Bracket

## Slide 8: Design Solution
April 27th, 2018
Hannah Rentschler
Pulley
  Transmits force from cables to hinge
  Limits the current draw
  3:1 gear ratio with motor pulley
T-Bracket
  End point for cable housing
  Mechanical stop
Torque sensor attachment
  Transmits torque to the shaft
  Adjusts according to the equinus angle
T-Bracket
Pulley
Torque sensor attachment

## Slide 9: Design Solution
Torque sensor
  Reads torque at the toe joint
Force sensitive resistor
  Reads ground reaction force
Potentiometer
  Reads the angle of rotation
Potentiometer assembly
  Couples the potentiometer to the T-Bracket
Torque sensor
Potentiometer
Potentiometer
assembly
April 27th, 2018
Hannah
April 27th, 2018
Hannah Rentschler

## Slide 10: Design Solution
April 27th, 2018
Robert
April 27th, 2018
Robert Libby
Healthy Gait Cycle

## Slide 11: Design Solution
April 27th, 2018
Robert Libby
Healthy Gait Cycle
Stance Phase
Heel Strike

## Slide 12: Design Solution
April 27th, 2018
Robert Libby
Healthy Gait Cycle
Assistive Phase

## Slide 13: Design Solution
April 27th, 2018
Robert Libby
Healthy Gait Cycle
Swing Phase

## Slide 14: Manufacturing
CNC
  Pulleys
  T- and L-brackets
  Hinge components
  Torque sensor attachments
3D Printed
  Potentiometer mount
  Heel and toe support
  Potentiometer gear interface
Sheet metal
  Foot plate
  L-bracket
Mills
  Motor assembly
April 27th, 2018
Azalea
April 27th, 2018
Azalea Grant

## Slide 15: Testing
April 27th, 2018
Robert
April 27th, 2018
Azalea Grant

## Slide 16: Testing
April 27th, 2018
Azalea Grant

## Slide 17: Results of Testing
Established
  System functioned mechanically
  Timed walking controls functioned over treadmill walking
Further testing is required
April 27th, 2018
Robert Libby
Stance
Toe-off
Swing

## Slide 18: Future Improvements
Motor pulley design and manufacturing
  Aluminum
  Machined D-hole
Hinge
  Pin hinge to the shaft
A more intelligent control scheme
  Reaction Torque Control scheme
  Feed-Forward Feature
April 27th, 2018
Azalea
April 27th, 2018
Azalea Grant

## Slide 19: Conclusion
Personal experience gained
Machining
Robotic systems
Biomechanics
Torque transfer systems
Potential application for other biomechanical systems
April 27th, 2018
Brandon Begay

## Slide 20: Acknowledgements
W.L. Gore
NAU Biomechatronics Lab & Dr. Lerner
Copper State Bolt and Nut Co.
Michael Bair
Dr. Gian Gasparri
April 27th, 2018
Brandon Begay

## Slide 21: Questions?

## Slide 22: Bowden Cables
http://www.daviddarling.info/encyclopedia/B/bowden_cable.html
https://www.researchgate.net/figure/Working-principle-of-the-Bowden-cables-in-the-static-condition-the-forces-exerted-by-the_fig8_220671712

## Slide 23: Ground Reaction Force

## Slide 24: State Machine

## Slide 25: PID Control
https://www.electronicshub.org/pid-controller-working-and-tuning-methods/

## Slide 26: Printed Circuit Board

## Slide 27: Motors and Battery Life