## Slide 1: Preliminary Presentation
Gore Capstone Team: Skylar Gilmore, Lumini, Alex Nagle

## Slide 2: Introductions
Lumini M.
Financial Manager
Logistics Manager
Alex Nagle
Project Lead
Test Engineer
Skylar Gilmore
CAD Manager
Manufacturing Manager
Alex Nagle, 2/3/22,Gore Stent, 1​

## Slide 3: Project Description
,
"The goal of this project is to design and develop a low force stent crimping machine utilizing a crush iris with a radial force readout. "
The project will be conducted as a multi-disciplinary project with the Electrical engineering capstone team.
The scope of the project within the mechanical team would be in selection of materials and the overall design of the machine.
Lumini M. 2/3/22,Gore Stent, 2
Click to add text

## Slide 4: Importance
Because of fat build up in the arterial wall, arteries within the body might narrow. By widening the clogged arteries, a stent is used to restore blood flow. A stent must first be crimped or decreased in diameter before being implanted into the body. A stent crimping device is used to crimp a stent onto a catheter delivery system.
The "compression station" – a device that generates a variable-diameter, cylinder-shaped opening – and the "machine base," which regulates the process, are the two main components of stent crimpers.
Lumini M. 2/3/22,Gore Stent, 3

## Slide 5
Benchmarking
Blockwise in Phoenix
MSI in Flagstaff
NAU’s Previous Capstone
Alex Nagle, 2/3/22,Gore Stent, 4
Figure 1: Blockwise Model CX
Figure 4: NAU Gore Capstone Team Final Design
Figure 3: MSI Radial Eye Design
Figure 2: MSI Stent Crimper

## Slide 6
Skylar Gilmore, 2/3/22,Gore Stent, 5
Customer Needs | Engineering Requirements
OSHA Safety Standards | Warning Labels - Pinch Point, electrical shock, safety glasses
ANSI Safety Standards | Emergency Stop
Readout: Force | User Control of Force or Diameter
Readout: Diameter | Iris style clamp
Cost Control | GUI force
Iterative Design Process | GUI Diameter
For endovascular stents | Iris Crimping Diameter (mm) 6<X<50 16mm-45mm devices
Working Model | Iris crimp depth 46mm devices 80 mm length can be 1.5 times size
Reliable | Force 132.94(N) 28.9 N/cm max
Durable | Start/Stop Button
 | <$2500 ME <$500 EE
 | Individual Part Testing and Iterations - 5 Minimum

## Slide 7: QFD
Alex Nagle, 2/3/22,Gore Stent, 6

## Slide 8
Schedule for January - May
Link for schedule -Spring 2022 GORE project schedule
Lulu M,, 2/3/22,Gore Stent, 7

## Slide 9: Project Budget
Lumini M. 2/3/22,Gore Stent, 8
Total Budget | $3,000.00
Amount allocated to Mechanical components | $2,500.00
Amount allocated to Electrical components | $500.00
Remaining Budget to date (02/03/2022) | $3,000.00
Expenses to date (02/03/2022) | $0.00
Anticipated Costs | Amount allocation ($)
Raw Materials | $200.00
Electronics | $100.00
Gear Assembly | $300.00
Motor Assemble | $400.00
Screw and inserts | $150.00
Milling Iris | $600.00

## Slide 10: Literature Review One: Endovascular Stent Grafts
For the first Literature Review we looked at what exactly an Endovascular stent Graft is and how it is used in the medical Field
“Endovascular Stent-Graft Repair of Thoracic Aortic Aneurysms” By R. Scott Mitchell, MD. Michael D. Charles P. Semba, MD, Dake, MD, Thomas J. Fogarty, MD, Christopher K. Zarins, MD, Robert P. Liddell, BA, D. Craig Miller, MD.
Alex Nagle, 2/3/22,Gore Stent, 9
"These early results support the hypothesis that endovascular stent-graft placement may be a safe and durable treatment for selected patients with aneurysmal disease of the descending thoracic aorta."[4]
Increases in aneurysms
"Since July 1992, we have experimented with an endovascular stent-graft repair technique for descending thoracic aortic aneurysms in an effort to minimize such morbidities."[4]

## Slide 11: Literature Review Two: Crimping and deployment of metallic and polymeric stents (finite element modelling )
The goal of this study is to compare the mechanical properties of metallic (Xience) and biodegradable polymeric (Elixir) stents during the crimping and deployment processes[6].
The study concludes, the crimping and deployment of polymeric and metallic stents were modelled using the finite element approach for a direct comparison of their mechanical properties[6].
Polymer stents expand at a slower rate than metallic stents, according to the findings. Due to inferior material qualities, the overall expansion of polymer stents was lower, both at peak inflating pressure and after balloon deflation[6].
(A. Schiavone, T. Yang and L.-G. Zhao, "Crimping and deployment of metallic and polymeric stents -- finite element modelling," Vessel Plus, vol. 21, p. 12, 12/01/2017)
Lumini M. 2/3/22,Gore Stent, 10

## Slide 12: Literature Review Three – Iris Crimping
Skylar Gilmore, 2/3/22,Gore Stent, 11
Temporary Crimp
Multiple points of contact
Constant circular design
Inner points move shrink diameter
Figure 7: Iris Crimping Process [5]
Figure 5: Crimping Wedge Tight
Figure 6: Crimping Wedge Open

## Slide 13: References
[1] “Model CX,” Blockwise Engineering, 12-Sep-2020. [Online]. Available: http://blockwise.com/stent-crimpers/cx/#CXLTC. [Accessed: 28-Jan-2022].
[2] M. S. I. Equipment, “Automated stent crimping for balloon-expandable stents and graft products,” MSI, 12-Jul-2017. [Online]. Available: https://msi.equipment/product/sc775s875s/. [Accessed: 28-Jan-2022].
[3] A. Blood, N. Green, J. Lawson, and C. Lissarrague, “Stent Crimper,” GoreCap_website. [Online]. Available: https://www.ceias.nau.edu/capstone/projects/ME/2020/20Spr1_GoreStent/index.html. [Accessed: 29-Jan-2022].
[4] R. S. Mitchell et al., “Endovascular stent–graft repair of thoracic aortic aneurysms,” The Journal of thoracic and cardiovascular surgery, vol. 111, no. 5, pp. 1054–1062, 1996, doi: 10.1016/S0022-5223(96)70382-3.
[5] Wu, Z., Zhao, J., Wu, W., Wang, P., Wang, B., Li, G., & Zhang, S. (2018). Radial Compressive Property and the Proof-of- Concept Study for Realizing Self-expansion of 3D Printing Polylactic Acid Vascular Stents with Negative Poisson’s Ratio Structure. Materials 2018, Vol. 11, Page 1357, 11(8), 1357. https://doi.org/10.3390/MA11081357
[6] A. Schiavone, T. Yang and L.-G. Zhao, "Crimping and deployment of metallic and polymeric stents -- finite element modelling," Vessel Plus, vol. 21, p. 12, 12/01/2017.
2/3/22,Gore Stent, 12

## Slide 14: Questions?
Alex Nagle, 2/3/22,Gore Stent, 13