## Slide 1: ME 476C Prototyping Summary Renewable Energy Project
Michael Horn, Garrett Cornelius, Nicholis Santana & Issac Granados

## Slide 2: Prototyping
Renewable Energy Lab Solar Panel Testing
  Old array deconstructed
  New solar panels installed, wired, and tested successfully
  Inverter is receiving enough power to test functionality
  Introduced Grid Power to system
  Simulating system install, set-up, and usage modes
Main Goal : Gain “Hands-on” experience

## Slide 3: Prototyping Photos
Figure 1: Old Panel Array
Figure 3: New Array Voltage
Figure 2: New Panel Array

## Slide 4: Prototyping Photos
Figure 4: Inverter System
Figure 5: System Monitor
Figure 6: Battery Bank System

## Slide 5: Inverter Installation Manual
Figure 7: Inverter System
Figure 8: Inverter System
Figure 7 and 8 Reference [1] : “Radian series inverter/charger.”

## Slide 6: Connecting the Inverter to Power
Figure 9: 20 Amp Breaker
Figure 10: Updated Solar Production Values ( ~ .6 kw)
Figure 11: Prototype Simulated Power Draw Source

## Slide 7: Prototyping Issues and Complications
Complications with Radian System and Mode Selection
  Unable to pull directly from the grid to power lighting in testing
  Suspected wiring issue for AC in/out
Inverter purchase selection has not been made
  Inverter is distributor specific, will require similar reading
and research with different makes and models

## Slide 8: Prototyping Takeaways
“Hands - on” experience
  Greater knowledge of system components and application
  Understanding of inverter importance as a system controller
PV system competency
  Learning off-site = less time spent on-site
  Important for long distance site location

## Slide 9: Moving Forward with the Prototype and Full Scale System
Continuing efforts with REL to gain comfort with PV system programming
Planned visits over the summer months to REL and Construction Site
All members will be conducting self-learning over the summer with selected components to gain comfort with installation and troubleshooting
Preliminary assembly of Operation/Assembly Manual for ME 486C

## Slide 10: References
[1] “Radian series inverter/charger.” [Online].
Available:https://s3.amazonaws.com/zcom-media/sites/a0i0h00000KyCXiAAN/media/mediamanager/OutBack_Radian_4048A_8048A_Inverter_manual.pdf. [Accessed: 02-May-2023].