## Slide 1: Hamster Capstone Project
Presentation 3 by: Jared Hemauer, Rylee Horney, Keenan Keams, Joseph Lopez

## Slide 2: Current Review of Hamster
Hamster is an affordable device for stroke rehabilitation
Help gain basic movements in the arm and hand of the patient
Sponsor: Dr. Reza Sharif Razavian
  NAU Professor
Joe, 1

## Slide 3: SOLIDWORKS View
Jared, 2
Figure 1. CAD Model of Full Design​
Figure 2: CAD assembly exploded view

## Slide 4: Component Enclosure Sub-design
Jared, 3
Figure 3: Component Enclosure drawing
Figure 4: Component Enclosure CAD

## Slide 5: Top Plate & Handle
Figure 5: Top Plate Drawing
Figure 6: Top Plate CAD
Jared,4

## Slide 6: Aluminum Chassis Sub-design
Jared, 5
Figure 7: Chassis Drawing
Figure 8: Chassis CAD

## Slide 7: Updated QFD
Rylee, 6

## Slide 8: Engineering Calculations
Motor Torque Requirements:
Work is based on given requirements from the client and the length of the current design of Hamster. Overall, a motor with at least 3.7 kgf-cm should work
Joe, 7

## Slide 9: Engineering Calculations Cont.
Rylee, 8
Wheel Speeds to go Left
Wheel Speeds to go Forward
Wheel Speeds to go Right
Wheel Speeds to go Back
Figure 9: Omni-wheel vector diagram [1]

## Slide 10: Engineering Calculations Cont.
Jared, 9
Evaluation done in Simulation XPRESS in SOLIDWORKS using 1/8in. 3003 Aluminum Plate
With a 10lbf load applied the plate will have:
FOS: 3.75
Max Displacement: 5.58e-3 in. (.142 mm)
Stress: 1.6e3 psi (1.1e7 Pa)
Figure 10: Stress Diagram
Figure 11: Displacement Diagram

## Slide 11: Engineering Calculations Cont.
To find the size of battery needed we had to calculate all the amps needed to supply our parts within the system. We then add them up and multiply by the time needed which will give us the Apm-Hour. After multiplying by the Voltage and well get the Watt-Hour. That will help us have a big enough battery to last 45-minute sessions with our current Apm ratings.
Keenan, 10

## Slide 12: Design Validation (FMEA)
Keenan, 11

## Slide 13: Testing Procedures
Testing ordered parts.
Using given measurements from website to check if components fit in casing.
Messing around with Raspberry Pi and motor controller.
Joe, 12

## Slide 14: Scheduling
Joe, 13

## Slide 15: Budgeting
Total Dollars Available: $1200
Fundraising: Completed total of $200
Expenses to Date: $ 262.00
Anticipated Expenses: about $350 - $400
  This would be for 2 more motors, 2 more wheels, battery, sensors, and other components
Resulting Balance: $938.00
Rylee, 14
Part​ | Cost of Part​ | Quantity​ | Estimated Total Cost​
PLA​ | $20​ | 1-2 spools​ | $40​
Omni-Directional Wheels​ | $30-$40​ | 3 wheels​ | $90-$120​
Microcontroller (Arduino, Raspberri-Pi, etc)​ | $20-$30​ | 1​ | $20-$30​
Battery​ | $30-$50​ | 1​ | $30-$50​
Motor(s)​ | $70-$100​ | 3​ | $210-$300​
Velcro​ | $8 (roll)​ | 1​ | $8​
Screen ​ | $30​ | 1​ | $30​
Sensor​ | $20​ | 1​ | $20​
ON/OFF Switch​ | $5​ | 1​ | $5​
Motor drivers​ | $20​ | 3​ | $60​
Table 1. Tentative Bill of Materials

## Slide 16: Virtual Prototype Demo
Joe, 15

## Slide 17: Thank you

## Slide 18: References
[1]J. Inthiam and C. Deelertpaiboon, "Self-localization and navigation of holonomic mobile robot using omni-directional wheel odometry," 2014