## Slide 1: Video Presentation

## Slide 2: SRP Thermal Mass
Aaron Espinoza (Manufacturing Engineer and CAD Specialist)
Maciej Ziomber (Test Engineer and Financial Manager)
Steven Galloway (Manufacturing Engineer and CAD Specialist)
Janelle Peña (Co-Project Manager and Logistics Manager)
Courtney Hiatt (Co-Project Manager and Website Developer)
Notes: Meeting in _General_-20241201_210418-Meeting Recording.mp4

## Slide 3: Photos of Testing
Janelle

## Slide 4: Testing Videos
Janelle

## Slide 5: House of Quality
5
Janelle
Notes: Your QFD links your ERs to your CRs - so by meeting the ERs, you meet the corresponding CRs. So, showing your QFD in your final testing results will be helpful in proving the link between your ERs and your CRs. Comment on how your tested ERs link to specific CRs and attach your QFD to your submission as a pdf.

## Slide 6: Design Requirements Summary
Janelle
Engineering Requirements
Heat Transfer ER1 (Watts-W/s)
Transient Heat Analysis
Thermodynamic analysis
Resistive Heat Analysis
Lumped Capacitance
ANSYS Models
Level of Maintenance ER2 $$$ and hrs
Materials
Part accessibility
Power Assistance
Power Output
Cost ER3 $$$
Net Present Value (NPV)
Internal Rate of Return (IRR)
Spider Charts
Safety ER4 FoS (dimensionless)- depends on each device
Material Properties`
Material Properties Codes
Building Codes
Safety Factor
Customer Requirements:
User Friendly (ease of access & easy to assemble and integrate) CR1
Reliability (be able to cool down the house) CR2
Safety (safe to keep it in the house) CR3
Affordability (Return on investment no longer than five years) CR4
Notes: Add numbers and values to the EGR and CR Requirements
Summarize your Design Requirements (DRs) – which are your Engineering and Customer Requirements. Hopefully this is a simple copy-paste but if some have changed, update them. Label each ER and CR with numbers like this: ER1, ER2,… CR1, CR2,…

## Slide 7: Design Requirements Summary
Janelle
Experiment/Test/Model​ | Relevant DR's​
Concrete TM heat evacuation (actual) ​ | ER1 (2,3,4), ER2 (2,3), ER4 (1,4); CR4,CR2​
Water-bar TM heat evacuation (actual) ​ | ER1 (2,3,4), ER2 (2,3), ER4 (1,4); CR4,CR2​
Concrete TM forced convective heat (actual) ​ | ER1 (2,3,4), ER2; CR2, CR1, CR3​
Water-bar TM forced convective heat (actual) ​ | ER1 (1,2,3,4), ER2; CR2, CR1, CR3​
Total simulation (Actual, Theoretical, Error calculations)​ | ER1(1), ER2 (2,3,4), ER3 (1,2,3), ER4 (2,3) ; CR2, CR3, CR4 ​
Notes: Top Level Testing Summary (30pts) List all the tests that you will be performing and map your Design Requirements in a table like this: Table 1: Example Test Summary Table Experiment/Test Relevant DRs Testing Equipment Needed Other Resources EXP1 – Takeoff Test ER1 – Total Weight (<20lbs) CR5 – Remote Control ease of use ER6 – Thrust to Weight Ratio (>0.8) Measuring tape Means to make a video A good weather day Access to Flagstaff Flyers location A certified Pilot EXP2 - Landing CR2– Ability to land on runway ER3 – land in a space less than 10ft long Measuring tape Means to make a video A good weather day Access to Flagstaff Flyers location A certified Pilot EXP3 – Thrust Dyno testing ER4 – Thrust forces (>10lbs @ 80% throttle) ER8 – Voltage (<48V) ER9 – Current (<50amp) CR1 – ability to take off and fly Motor/Propeller Thrust Dynomometer Computer Digital Multimeter Lab space Excel spreadsheet to plot both static and dynamic thrust results Etc… Etc… Etc… Etc…

## Slide 8: Top Level Testing Summary Table
Experiment/Test | Relevant DRs | Testing Equipment Needed | Other Resources
EXP1 – Glycol CV Heat Transfer | ER2 - Charge thermal mass during non-peak hours CR2 - Reliability CR 10- Reduce costs ER1- Heat Transfer Rate | Thermocouples Graduated Cylinder Stopwatch Pico Data Logger | Safety equipment working with glycol Solar Shack Dr. Wade’s Lab
EXP2 – Thermal Mass Temperature Profile/Heat Transfer | ER 2 - Charge thermal mass during non-peak hours CR 2 - Reliability CR 10 - Reduce costs ER1- Heat Transfer Rate | Thermocouples Graduated Cylinder Stopwatch Pico Data Logger Drill | Safety equipment working with glycol Solar Shack Dr. Wade’s Lab
Courtney

## Slide 9: Testing Plan/Procedure
Steven
Test box
Radiant reflective
Control of convection (Free convection minimum)
For potentially large specimen
Pump for antifreeze
Deep freeze
In need of a location that would have reduced radiative and convective heat transfer much like an air duct.

## Slide 10: Testing Plan/Procedure
Steven
TC-08 Pico Logger
Many experiments and calibrations to complete. Everything needs to adapt quickly.
8 channels minimum
10 Hz sampling
Potentially high-resolution for small specimen
Can quickly adapt to a new experiment

## Slide 11: Testing Plan/Procedure
Steven
Step-By-Step
Calibrate the Thermocouples
1
Calibrate the flow rate of the pump
2
Heat exchange to remove heat W/s
3
Test concrete specimen for ΔT – ME 495 (ER1, CR2)
Test concrete specimen for τ (ER2, CR2) (Time to “discharge”)
Test water specimen for ΔT (ER1, CR2)
Test water specimen for τ (ER2, CR2) (Time to freeze)
Heat exchange to include heat
4
Test concrete specimen heat “absorption” (ER2, CR2)
Test water specimen heat “absorption” (ER2,CR2)
Test Datum heat exchanger (ER3,CR4)
5

## Slide 12: Measurements
Instrument | Measurement | Resolution | Resolution Uncertainty
Stopwatch | Time | 0.01 | 0.01 s
Graduated cylinder | Volume | 2 mL | 1 mL
k-type thermocouples/Pico data logger | Temperature | 20 bit | 7.15E-6 V/bit (quantization error)
RTD thermometer | Temperature | 0.01 | 0.01
Calculated Value | Symbol | Depends on Variables
Mass flow rate of glycol |  | ,
Heat transfer based on thermodynamic model |  | , , ,
Heat transfer based on convection |  | , ,
Calculated Value | Symbol | Depends on Variables
Mass flow rate of glycol |  | 
Heat transfer based on thermodynamic model |  | 
Heat transfer based on convection |  | 
Courtney

## Slide 13: Testing Plan/Procedure
Janelle
Glycol Water Bars Flowrate/Heat Transfer Test 1V
Chart: Temps Within the Concrete Block
| 0-0.5 | .5-1 | 1-1.5 | 1.5-2 | 2-2.5 | 2.5-3 | 3-3.5 | 3.5-4 | 4-4.5 | 4.5-5 | 5-5.5 | 5.5-6 | 6-6.5 | 6.5-7 | 7-7.5 | 7.5-8 | 8-8.5 | 8.5-9 | 9-9.5 | 9.5-10 | 10-10.5 | 10.5-11 | 11-11.5 | 11.5-12 | 12-12.5 | 12.5-13 | 13-13.5 | 13.5-14 | 14-14.5 | 14.5-15 | 15-15.5 | 15.5-16 | 16-16.5 | 16.5-17 | 17-17.5 | 17.5-18 | 18-18.5 | 18.5-19 | 19-19.5 | 19.5-20 | AVERAGE
Inlet 1 Ave.(C): TC 10 | 15.1733 | 15.2678 | 15.357 | 15.4153 | 15.4767 | 15.4434 | 15.3582 | 15.2893 | 15.2473 | 15.2358 | 15.2581 | 15.3093 | 15.3686 | 15.3686 | 15.321 | 15.2827 | 15.2383 | 15.1725 | 15.1017 | 15.0729 | 15.0182 | 14.9683 | 14.8717 | 14.7934 | 14.6939 | 14.5947 | 14.477 | 14.35 | 14.2217 | 14.0701 | 13.9255 | 13.7666 | 13.5901 | 13.3949 | 13.0412 | 13.0412 | 12.9427 | 12.7589 | 12.583 | 12.4061 | 14.5817
Inlet 3 Ave. (C): TC9 | 15.131 | 15.1282 | 15.1387 | 15.1542 | 15.1564 | 15.1404 | 15.1213 | 15.1112 | 15.1023 | 15.0874 | 15.0699 | 15.0717 | 15.0597 | 15.0597 | 15.0395 | 15.0197 | 14.9816 | 14.946 | 14.8884 | 14.871 | 14.8224 | 14.7901 | 14.6971 | 14.6142 | 14.5136 | 14.4211 | 14.2862 | 14.1248 | 13.9601 | 13.8059 | 13.682 | 13.4977 | 13.3141 | 13.1201 | 12.718 | 12.718 | 12.5555 | 12.3777 | 12.199 | 12.0114 | 14.3377
Room temperature Ave. (C): TC 8 | 13.6767 | 13.7222 | 13.6983 | 13.8783 | 13.9744 | 13.9203 | 13.9182 | 13.9058 | 13.8843 | 14.0872 | 14.1624 | 14.0504 | 13.9597 | 13.9597 | 13.9848 | 14.0011 | 14.077 | 14.1154 | 14.0516 | 14.0254 | 13.9962 | 14.0437 | 13.959 | 13.9234 | 13.9725 | 14.0642 | 15.9157 | 14.7175 | 14.3155 | 14.1449 | 14.07 | 14.1015 | 14.1355 | 14.1735 | 14.1882 | 14.1882 | 14.131 | 14.1136 | 14.1776 | 14.1838 | 14.0892
Outlet 1 Ave. (C): TC 7 | 14.3894 | 14.3979 | 14.4081 | 14.4319 | 14.4469 | 14.4322 | 14.3913 | 14.369 | 14.341 | 14.3227 | 14.3195 | 14.3311 | 14.3462 | 14.3462 | 14.3318 | 14.3059 | 14.2531 | 14.2084 | 14.1537 | 14.1316 | 14.0784 | 14.0256 | 13.9292 | 13.8557 | 13.765 | 13.6851 | 13.568 | 13.4469 | 13.3497 | 13.2238 | 13.1214 | 12.9984 | 12.891 | 12.7988 | 12.4951 | 12.4951 | 12.3601 | 12.216 | 12.056 | 11.854 | 13.7218
Outlet 3 Ave. (C): TC 6 | 14.3036 | 14.3181 | 14.3126 | 14.3418 | 14.3605 | 14.3452 | 14.2985 | 14.2771 | 14.2563 | 14.2487 | 14.2424 | 14.2565 | 14.2594 | 14.2594 | 14.2428 | 14.2128 | 14.1487 | 14.1019 | 14.028 | 14.002 | 13.9411 | 13.8918 | 13.8 | 13.7083 | 13.6096 | 13.5127 | 13.3969 | 13.2724 | 13.1605 | 13.0162 | 12.8792 | 12.7342 | 12.5997 | 12.4613 | 12.1577 | 12.1577 | 12.016 | 11.8777 | 11.7295 | 11.5631 | 13.5575
Chart: Glycol Temps
| 0-0.5 | .5-1 | 1-1.5 | 1.5-2 | 2-2.5 | 2.5-3 | 3-3.5 | 3.5-4 | 4-4.5 | 4.5-5 | 5-5.5 | 5.5-6 | 6-6.5 | 6.5-7 | 7-7.5 | 7.5-8 | 8-8.5 | 8.5-9 | 9-9.5 | 9.5-10 | 10-10.5 | 10.5-11 | 11-11.5 | 11.5-12 | 12-12.5 | 12.5-13 | 13-13.5 | 13.5-14 | 14-14.5 | 14.5-15 | 15-15.5 | 15.5-16 | 16-16.5 | 16.5-17 | 17-17.5 | 17.5-18 | 18-18.5 | 18.5-19 | 19-19.5 | 19.5-20
Outlet Flow Temp Ave. (C): Shrouded 8 | 12.946 | 12.7055 | 12.7545 | 12.7438 | 12.7085 | 12.6976 | 12.6175 | 12.4237 | 11.9639 | 11.1764 | 10.2073 | 9.0611 | 7.0638 | 7.0638 | 6.1463 | 5.2582 | 4.2719 | 3.3658 | 2.5655 | 1.6931 | 0.84343 | 0.0081 | -0.82927 | -1.6025 | -2.3488 | -3.049 | -3.7443 | -4.4315 | -5.0461 | -5.6273 | -6.1817 | -6.7157 | -7.2274 | -7.6915 | -8.5144 | -8.5144 | -8.8976 | -9.2603 | -9.5771 | -9.9075
Inlet Flow Temp Ave. (C): Shrouded 7 | 12.5652 | 12.5771 | 12.5861 | 12.5959 | 12.5941 | 12.6173 | 12.6342 | 12.6446 | 12.6509 | 12.6524 | 12.6567 | 12.6467 | 12.3814 | 12.3814 | 12.0124 | 11.9021 | 11.8214 | 11.7481 | 11.499 | 11.2052 | 10.9058 | 10.6086 | 10.2798 | 9.9367 | 9.5847 | 9.2579 | 8.9347 | 8.601 | 8.2686 | 7.9345 | 7.6107 | 7.2891 | 6.9599 | 6.5955 | 5.9502 | 5.9502 | 5.659 | 5.3751 | 5.0702 | 4.7256

## Slide 14: Testing Plan/Procedure
Janelle
Glycol Water Bars Flowrate/Heat Transfer Test 10V
Chart: Temps Within the Concrete Block
| 0-0.5 | .5-1 | 1-1.5 | 1.5-2 | 2-2.5 | 2.5-3 | 3-3.5 | 3.5-4 | 4-4.5 | 4.5-5 | 5-5.5 | 5.5-6 | 6-6.5 | 6.5-7 | 7-7.5 | 7.5-8 | 8-8.5 | 8.5-9 | 9-9.5 | 9.5-10 | 10-10.5 | 10.5-11
Inlet 1 Ave.(C): TC 10 | 11.7945 | 11.8523 | 11.987 | 12.0647 | 12.0466 | 12.0615 | 11.9614 | 11.8331 | 11.7304 | 11.5815 | 11.2791 | 10.6963 | 9.9987 | 9.9987 | 9.802 | 9.6279 | 9.4609 | 9.2423 | 9.0066 | 8.7281 | 8.4824 | 8.3311
Inlet 3 Ave. (C): TC9 | 10.7526 | 10.766 | 10.8678 | 10.8941 | 10.8634 | 10.8646 | 10.8679 | 10.8183 | 10.7579 | 10.6079 | 10.4413 | 10.2979 | 9.6681 | 9.6681 | 9.009 | 7.9746 | 6.9791 | 6.2587 | 5.6406 | 5.1843 | 4.8099 | 4.6097
Outlet 1 Ave. (C): TC 7 | 11.7936 | 11.8356 | 11.8663 | 11.9088 | 11.8367 | 11.8196 | 11.8168 | 11.7918 | 11.6998 | 11.6005 | 11.4806 | 11.3513 | 11.0366 | 11.0366 | 10.8449 | 10.6617 | 10.4682 | 10.2811 | 9.9635 | 9.1935 | 8.3728 | 7.7808
Outlet 3 Ave. (C): TC 6 | 12.7786 | 12.7559 | 12.7794 | 12.8401 | 12.8839 | 12.8761 | 12.7828 | 12.628 | 12.4759 | 12.2624 | 12.0618 | 11.8339 | 11.3927 | 11.3927 | 11.1044 | 10.8247 | 10.5814 | 10.3387 | 10.0646 | 9.8813 | 9.6639 | 9.534
Inlet 2 Ave. (C): TC 5 | 12.261 | 12.3366 | 12.4126 | 12.409 | 12.4619 | 12.5346 | 12.4711 | 12.4041 | 12.3001 | 12.108 | 11.945 | 11.7614 | 11.3903 | 11.3903 | 11.1351 | 10.8283 | 10.4135 | 9.8451 | 8.8836 | 7.929 | 7.096 | 6.5818
Chart: Glycol Temps
| 0-0.5 | .5-1 | 1-1.5 | 1.5-2 | 2-2.5 | 2.5-3 | 3-3.5 | 3.5-4 | 4-4.5 | 4.5-5 | 5-5.5 | 5.5-6 | 6-6.5 | 6.5-7 | 7-7.5 | 7.5-8 | 8-8.5 | 8.5-9 | 9-9.5 | 9.5-10 | 10-10.5 | 10.5-11
Outlet Flow Temp Ave. (C): Shrouded 8 | 11.5915 | 6.2699 | -0.025467 | -2.3313 | -3.6472 | -4.847 | -6.019 | -7.1775 | -8.2333 | -9.1537 | -9.934 | -10.5813 | -11.5668 | -11.5668 | -11.9284 | -12.2208 | -12.4603 | -12.6349 | -12.7944 | -12.9119 | -12.9878 | -13.0352
Inlet Flow Temp Ave. (C): Shrouded 7 | 12.5907 | 11.9858 | 8.3973 | 4.5199 | 3.0644 | 2.0065 | 0.8081 | -0.3539 | -1.4342 | -2.4488 | -3.3789 | -4.1948 | -5.5326 | -5.5326 | -6.0709 | -6.5434 | -6.9448 | -7.2672 | -7.5615 | -7.8006 | -7.9957 | -8.1153

## Slide 15: Testing Plan/Procedure
Janelle
Glycol Water Bars Flowrate/Heat Transfer Test 115V
Chart: Temps Within the Concrete Block
| 0-0.5 | .5-1 | 1-1.5 | 1.5-2 | 2-2.5 | 2.5-3 | 3-3.5 | 3.5-4 | 4-4.5 | 4.5-5 | 5-5.5 | 5.5-6 | 6-6.5 | 6.5-7 | 7-7.5 | 7.5-8 | 8-8.5 | 8.5-9 | 9-9.5 | 9.5-10 | 10-10.5 | 10.5-11
Inlet 1 Ave.(C): TC 10 | 11.7945 | 11.8523 | 11.987 | 12.0647 | 12.0466 | 12.0615 | 11.9614 | 11.8331 | 11.7304 | 11.5815 | 11.2791 | 10.6963 | 9.9987 | 9.9987 | 9.802 | 9.6279 | 9.4609 | 9.2423 | 9.0066 | 8.7281 | 8.4824 | 8.3311
Inlet 3 Ave. (C): TC9 | 10.7526 | 10.766 | 10.8678 | 10.8941 | 10.8634 | 10.8646 | 10.8679 | 10.8183 | 10.7579 | 10.6079 | 10.4413 | 10.2979 | 9.6681 | 9.6681 | 9.009 | 7.9746 | 6.9791 | 6.2587 | 5.6406 | 5.1843 | 4.8099 | 4.6097
Outlet 1 Ave. (C): TC 7 | 11.7936 | 11.8356 | 11.8663 | 11.9088 | 11.8367 | 11.8196 | 11.8168 | 11.7918 | 11.6998 | 11.6005 | 11.4806 | 11.3513 | 11.0366 | 11.0366 | 10.8449 | 10.6617 | 10.4682 | 10.2811 | 9.9635 | 9.1935 | 8.3728 | 7.7808
Outlet 3 Ave. (C): TC 6 | 12.7786 | 12.7559 | 12.7794 | 12.8401 | 12.8839 | 12.8761 | 12.7828 | 12.628 | 12.4759 | 12.2624 | 12.0618 | 11.8339 | 11.3927 | 11.3927 | 11.1044 | 10.8247 | 10.5814 | 10.3387 | 10.0646 | 9.8813 | 9.6639 | 9.534
Inlet 2 Ave. (C): TC 5 | 12.261 | 12.3366 | 12.4126 | 12.409 | 12.4619 | 12.5346 | 12.4711 | 12.4041 | 12.3001 | 12.108 | 11.945 | 11.7614 | 11.3903 | 11.3903 | 11.1351 | 10.8283 | 10.4135 | 9.8451 | 8.8836 | 7.929 | 7.096 | 6.5818
Chart: Glycol Temps
| 0-0.5 | .5-1 | 1-1.5 | 1.5-2 | 2-2.5 | 2.5-3 | 3-3.5 | 3.5-4 | 4-4.5 | 4.5-5 | 5-5.5 | 5.5-6 | 6-6.5 | 6.5-7 | 7-7.5 | 7.5-8 | 8-8.5 | 8.5-9 | 9-9.5 | 9.5-10 | 10-10.5 | 10.5-11
Outlet Flow Temp Ave. (C): Shrouded 8 | 11.5915 | 6.2699 | -0.025467 | -2.3313 | -3.6472 | -4.847 | -6.019 | -7.1775 | -8.2333 | -9.1537 | -9.934 | -10.5813 | -11.5668 | -11.5668 | -11.9284 | -12.2208 | -12.4603 | -12.6349 | -12.7944 | -12.9119 | -12.9878 | -13.0352
Inlet Flow Temp Ave. (C): Shrouded 7 | 12.5907 | 11.9858 | 8.3973 | 4.5199 | 3.0644 | 2.0065 | 0.8081 | -0.3539 | -1.4342 | -2.4488 | -3.3789 | -4.1948 | -5.5326 | -5.5326 | -6.0709 | -6.5434 | -6.9448 | -7.2672 | -7.5615 | -7.8006 | -7.9957 | -8.1153

## Slide 16: Measurements and Expected Results
Steven
As expected, the inlet temperature (red) is the lowest temperature, and the outlet temperature (blue)
shows the next lowest
The Thermocouple closest to the block (green) shows a temperature decrease over time.
The next TC from the center (yellow) is decreasing but much slower
The last TC from the center (grey) drops the slowest as expected
The sudden jumps are testing our assurance of the thermocouples

## Slide 17: Results – Thermocouple Calibration Curves
Courtney

## Slide 18: Results – Thermocouple Calibration Curves
Courtney

## Slide 19: Results – Thermocouple Calibration Curves
Courtney

## Slide 20: Results – Thermocouple Calibration Curves
Courtney

## Slide 21: Results – Flow Rate Calibration Curve
Voltage | Flow Calibration Curve (L/s) |  | Voltage | Flow Calibration Curve (L/s)
V | y=5*10^-5(x) |  | V | y=6*10^-7(x)+.0017
1 | 0.0000500 |  | 1 | 0.00170
2 | 0.000100 |  | 2 | 0.00170
10 | 0.000500 |  | 10 | 0.00171
20 | 0.00100 |  | 20 | 0.00171
115 | 0.0057500 |  | 115 | 0.0017690
Courtney

## Slide 22: Results - Concrete Charging
Courtney
Chart: Heat Transfer Rate for Varying Glycol Flow Rates
Optimal Flow Rate: 9.96E-07

## Slide 23: Results – Water Bar Charging
Chart: Heat Transfer Rate of Varying Flow Rates of Water Bars
3.77 x 10⁻⁵ (m³/s) Flow proves to have the greatest heat transfer
After a short time, the laminar flow in the pipe does not allow for mixing and higher heat transport.
Chart: Heat Transfer Rate of Varying Flow Rates of Water Bars
Steven

## Slide 24: Volumes and Masses
Specific Heat of water: 4184
Heat of Fusion of Water: 334
From 20°C to 0°C will require 400 per bar to freeze
5*400=2000 J
To completely freeze a bar will require 32
That places this scaled down proof of concept with 3 times the desired energy requirement
Steven

## Slide 25: Volumes and Masses
The specific heat of concrete: .
From 20°C to 0°C will require 355 . At the optimal flow rate this means 3.29 hours to be prepared to cool a room.
Steven

## Slide 26: Volumes and Masses
The specific heat of Ethylene Glycol varies as the temperature changes.
From this experiment it was confirmed the mass of the HTF can be as low as 1% of the mass of the Thermal energy storage.
Steven

## Slide 27: Finalized Specification Sheet
Engineering Requirement |  | Target | Tolerance | Measured/ Calculated Value | ER met? (yes or no) | Client Acceptable (yes or no)
Provide energy during the 4-8pm peak hours | ER1 | 11kW | +/- 9 kW | Calculated | Yes | 
Charge thermal mass during non-peak hours | ER2 | 265257 kJ | +/- 238148 kJ | Calculated | Yes | 
Reduce costs | ER3 | Less than 25.85 ₵/kWh | +/- 5 ₵ | Calculated | Yes | 
Initial Costs | ER4 | Less than $5000 | + $0 | Measured | Yes | 
Courtney

## Slide 28: Finalized Specification Sheet
Customer Requirement |  | CR met? (yes or no) | Client Acceptable (yes or no)
User Friendly (ease of access & easy to assemble and integrate) (min, %) | CR1 | Yes | 
Reliability (be able to cool down the house) | CR2 | Yes | 
Safety (safe to keep it in the house) | CR3 | No | 
Affordability (Return on investment no longer than five years) | CR4 | Yes | 
Help reach SRP goal to decrease carbon emissions from 2005 levels by 65% by 2035 | CR5 | Yes | 
Provide air conditioning through the thermal mass between 4-8 pm | CR6 | Yes | 
Charge the thermal mass during non-peak hours | CR7 | Yes | 
Provide state of the art research/literature review | CR8 | Yes | 
Determine typical SRP electricity use during peak months | CR9 | Yes | 
Provide savings | CR10 | Yes | 
Consider SRP customer rate programs with and without customer-site solar PV generation | CR11 | Yes | 
Provide economic analysis of designs | CR12 | Yes | 
Choose one thermal energy storage solution to build and test | CR13 | Yes | 
Propose a full-scale design | CR14 | Yes | 
Stay within $5000 budget | CR15 | Yes | 
Courtney